# ANNEX 3.2-H: SCALABILITY & PUBLIC NETWORK INTEGRATION

Purpose: To define scalability protocols and integration procedures with national telecom networks for high-volume emergency communications.

## Section 1: Scalability Thresholds

| Activation Level | User Capacity | Bandwidth Requirement | Trigger Action |
| --- | --- | --- | --- |
| Normal Operations | < 50 concurrent | 10 Mbps | Standard configuration |
| Level 1 Scale-Up | 50-200 concurrent | 25 Mbps | Activate backup links |
| Level 2 Scale-Up | 200-500 concurrent | 50 Mbps | Request MNO priority routing |
| Level 3 Scale-Up | > 500 concurrent | 100+ Mbps | Full public network integration |

## Section 2: Public Network Integration Checklist

| Integration Step | Status | Completed By |
| --- | --- | --- |
| MNO priority routing agreement activated | ☐ Complete |  |
| Emergency bandwidth allocation confirmed | ☐ Complete |  |
| Cell broadcast capability tested | ☐ Complete |  |
| Mass SMS gateway configured | ☐ Complete |  |
| Public WiFi hotspots activated (if applicable) | ☐ Complete |  |
| Backup satellite pre-positioned | ☐ Complete |  |

## Section 3: Failover Sequence (SHOC → Public Network)

| Step | Action | Responsible Party | Time Target |
| --- | --- | --- | --- |
| 1 | Detect SHOC network capacity threshold | NOC / Monitoring System | Automatic |
| 2 | Notify MNO liaison for priority routing | ICT Officer | < 15 minutes |
| 3 | MNO activates emergency bandwidth | MNO Operations Centre | < 30 minutes |
| 4 | SHOC routes traffic through public network | Network Engineer | < 45 minutes |
| 5 | Confirm connectivity and QoS | ICT Testing Team | < 60 minutes |