Annex 6.4-F: SPOF Testing Schedule and Results Log

Purpose: Semi-annual schedule for systematically disabling each Single Point of Failure mitigation and verifying failover per ICT Policy §12.3, as required by SOP 6.4 §7.2 T5.

| Test Cycle | ☐ H1 ☐ H2 |
| --- | --- |
| Year |  |
| Test Lead | ICT Officer |

| SPOF ID | Component | Mitigation | Test Method | Scheduled | Result | Failover Time | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SPOF-01 | Primary ISP (Vodacom) | Secondary ISP + Starlink | Disconnect primary; verify auto-switch |  | ☐ P ☐ F |  |  |
| SPOF-02 | Main power supply | UPS + Generator + Solar | Simulate mains failure; verify ATS |  | ☐ P ☐ F |  |  |
| SPOF-03 | Primary firewall | Secondary firewall (HA pair) | Disable primary; verify passive takeover |  | ☐ P ☐ F |  |  |
| SPOF-04 | Core switch 1 | Core switch 2 (redundant) | Disable switch 1; verify traffic reroute |  | ☐ P ☐ F |  |  |
| SPOF-05 | Azure primary region | Azure secondary + SADC Cloud | Simulate region failure; verify DRaaS |  | ☐ P ☐ F |  |  |
| SPOF-06 | DRMIMS primary instance | Cloud replica + satellite buffer | Shutdown primary; verify replica |  | ☐ P ☐ F |  |  |
| SPOF-07 | ICT Officer availability | Asst ICT succession | ICT Officer unavailable scenario |  | ☐ P ☐ F |  |  |
| SPOF-08 | Starlink terminal | VSAT + BGAN backup | Disable Starlink; verify VSAT failover |  | ☐ P ☐ F |  |  |
| SPOF-09 | VPN primary tunnel (SADC) | Redundant tunnel + web portal | Drop primary tunnel; verify failover |  | ☐ P ☐ F |  |  |
| SPOF-10 | WiFi controller | Standalone AP failback | Disable controller; verify AP operation |  | ☐ P ☐ F |  |  |

Remediation Tracker

| SPOF ID | Issue Found | Remediation Action | Responsible | Deadline | Status |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | ☐ Open ☐ Closed |
|  |  |  |  |  | ☐ Open ☐ Closed |
|  |  |  |  |  | ☐ Open ☐ Closed |
|  |  |  |  |  | ☐ Open ☐ Closed |
|  |  |  |  |  | ☐ Open ☐ Closed |

Sign-Off

| ICT Officer | Name & Signature | Date |
| --- | --- | --- |
| Head of Operations | Name & Signature | Date |