Annex 6.4-G: Power Continuity Test Log

Purpose: Document all power continuity testing per SOP 6.4 §7.3, including monthly UPS tests, quarterly generator tests, and annual battery/service assessments.

| Year |  |
| --- | --- |
| Maintained By | Asst ICT |
| Reviewed By | ICT Officer |

Monthly UPS Battery Load Test

| Month | Test Date | Duration | Load % | ATS Switch Time | Battery Health | Result | Tester |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Jan |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Feb |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Mar |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Apr |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| May |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Jun |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Jul |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Aug |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Sep |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Oct |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Nov |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |
| Dec |  | 30 min sustained |  | <10 sec target |  | ☐ P ☐ F |  |

Quarterly Generator Full-Load Test

| Quarter | Test Date | Duration | Load % | Fuel Before | Fuel After | Fuel Reserve (hrs) | Result |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Q1 |  | 2 hours |  |  |  | ≥72hr target | ☐ P ☐ F |
| Q2 |  | 2 hours |  |  |  | ≥72hr target | ☐ P ☐ F |
| Q3 |  | 2 hours |  |  |  | ≥72hr target | ☐ P ☐ F |
| Q4 |  | 2 hours |  |  |  | ≥72hr target | ☐ P ☐ F |

Fuel Reserve Monitoring

Automated alerts configured at 50% and 25% levels. ICT Officer monitors fuel reserve levels.

| Date | Fuel Level % | Estimated Hours | Resupply Ordered? | Resupply Received | Notes |
| --- | --- | --- | --- | --- | --- |
|  |  |  | ☐ |  |  |
|  |  |  | ☐ |  |  |
|  |  |  | ☐ |  |  |
|  |  |  | ☐ |  |  |
|  |  |  | ☐ |  |  |
|  |  |  | ☐ |  |  |

Annual Assessments

| Assessment | Date | Findings | Action Required | Status |
| --- | --- | --- | --- | --- |
| UPS battery replacement assessment |  |  |  | ☐ Complete |
| Generator service (manufacturer schedule) |  |  |  | ☐ Complete |
| Solar panel output vs rated capacity |  |  |  | ☐ Complete |
| Electrical infrastructure inspection |  |  |  | ☐ Complete |

Sign-Off

| Asst ICT | Name & Signature | Date |
| --- | --- | --- |
| ICT Officer | Name & Signature | Date |